Contracting Party:

INSTITUTE OF BIOORGANIC CHEMISTRY

POLISH ACADEMY OF SCIENCES

ul. Noskowskiego 12/14,

61-704 Poznań

Terms of Reference

open tender

whose value does not exceed the amounts specified

in provisions resulting from art. 11 par. 8

of the Public Procurement Act of 29 January 2004.

(uniform text, Official Journal 2010 No. 113 item. 759 as amended)

DELIVERY OF A

HUMIDIFIER CHAMBER

PART OF THE PROJECT “Infrastructure Development for the European Bioinformatics and Genomics Centre” implemented under the Innovative Economy Operational Programme 2007-2013, Priority 2. R&D infrastructure, Measure 2.2 Support for the development of shared research infrastructure,

project No.: POIG.02.02.00-30-009/09-00

PROJECT CO-FINANCED BY THE EUROPEAN UNION FROM THE REGIONAL DEVELOPMENT FUND

Poznań, August 2011

CONTENTS

I.	DESCRIPTION	3

1.	Name and contact data of the Contracting Party	3

2.	Method of awarding the contract	3

3.	Object of the contract	3

4.	Performance deadline	4

5.	Eligibility criteria	4

6.	Statements and documents to be attached with the tender	4

7.	Assessment of Contractor’s eligibility	7

8.	Method of contacting the Contracting Party	7

9.	Tender guarantee	8

10.	Term of the tender	8

11.	Preparing the tender	8

12.	Place and deadline for submission and opening of tenders	9

13.	Supplementing documents, corrections, clarifying tender content	9

14.	Excluding Contractors	9

15.	Rejection of a tender	9

16.	Concluding the Agreement	9

17.	Annulling the procedure	9

18.	Description of criteria used by the Contracting Party to select the tender	10

19.	Guarantee	11

20.	Performance bond	11

21.	Announcing the results	11

22.	Concluding the Agreement and its material terms and conditions	11

23.	Legal remedy	11

III.	 DRAFT AGREEMENT	18

IV.	TECHNICAL SPECIFICATION OF THE CONTRACTED SERVICES	26

I. DESCRIPTION

## Name and contact address of the Contracting Party

Institute of Bioorganic Chemistry, Polish Academy of Sciences

contact address: ul. Noskowskiego 12/14, 61-704 Poznań

tel. 61 852 85 03, fax: 61 852 05 32

website: http://www.man.poznan.pl/pcss/public/zampub/index.html

or www.ibch.poznan.pl – public procurement tab

opening hours: Monday – Friday: 8:00-16:00

## Method of awarding the contract

The contract shall be awarded through open tender in accordance with art. 39 of the Public Procurement Act of 29.01.2004 (Official Journal. of 2010 No. 113, item. 759 as amended) hereinafter called the PPA.

## Object of the contract

The object of the contract is to deliver a humidifier chamber to a room indicated by the Contracting Party, i.e. the room located in the building at Piotrowo 2 Street in Poznań as well as equip, install and commission it in accordance with the requirements of the Contracting Party specified in the Technical Specification included in part IV of the Terms of Reference (hereinafter called Technical Specification)

The scope of the contract also includes:

  - training on operating the equipment after installation,

  - issuing a guarantee and providing guarantee maintenance services (hereinafter called the maintenance services) - detailed requirements related to the guarantee are specified in section 19 of the Terms of Reference,

  - providing a manual for the equipment in Polish or English,

  - unlimited technical consultation - by phone and e-mail in the guarantee and post-guarantee period as long as the equipment is in use

The delivered object of the contract must be brand new, i.e. not used before delivery otherwise than is necessary for the purpose of testing its proper functioning.

The delivered object must be ready for use without having to install additional devices and be equipped with the sufficient amount of cable to allow it to function properly and be connected to standard power sockets unless otherwise specified in the Technical Specification.

The contract is part of the project: Infrastructure Development for the European Bioinformatics and Genomics Centre implemented under the Innovative Economy Operational Programme 2007-2013, Priority 2. R&D infrastructure, Measure 2.2 Support for the development of shared research infrastructure, Project No. POIG.02.02.00-30-009/09-00

Project co-financed by the European Union from the Regional Development Fund under the Innovative Economy programme

CPV Code: 38500000-0

## Submitting partial tenders

The Contracting Party does not allow partial tenders.

## Submitting equivalent tenders

The Contracting Party allows equivalent tenders, but the requirement and technical parameters specified by the Contracting Party for the object of the contract are minimal requirements and the Contracting Party expects that they are met.

In case an equivalent tender is submitted for particular items, it is necessary to explicitly highlight differences which need to be clearly marked on the technical specification form (e.g. by underlining the properties of suggested equivalent equipment or writing them in bold type).

In accordance with art. 30, par. 5 of the PPA, the Contractor who cites solutions equivalent to the ones described by the Contracting Party shall prove that the object of the contract that he offers meets the requirements specified by the Contracting Party.

## Supplementary procurement planned

The Contracting Party does not plan to procure supplementary contracts.

## Submitting variant tenders

The Contracting Party does not allow variant tenders.

## Framework agreements

The Contracting Party does not plan to conclude a framework agreement.

## Provisions related to electronic auctions

The Contracting Party does not plan to hold an electronic auction.

## Performance deadline

The object must be delivered to the room indicated by the Contracting Party and commissioned within 18 weeks from the day on which the Agreement is signed by both parties, but not later that by 28th December 2011.

## Eligibility criteria

The contract may be awarded to Contractors who:

- Meet conditions related to

- authorisations to perform specified services and activities if such authorisation is required by law

- necessary expertise and experience:

The Contractor meets the condition if he can prove that over the period of the last three years before the day on which the deadline for the submission of tenders expires, or if the period of the Contractor’s business activity is shorter – over this shorter period, he has performed at least two contracts for delivery of at least one humidifier chamber whose value amounts to at least PLN 70 000.00 gross each.

- necessary technical potential and personnel capable of performing the contract

- economic and financial situation:

The Contractor meets the condition if he can prove that he has a liability insurance policy or, alternatively, another document confirming that he is insured from the risk of liabilities in the scope of his business related to the object of the contract for the amount of at least PLN 50 000.00

2. 	Are not excluded from the tendering procedure pursuant to art. 24 of the Public Procurement Act.

Eligibility shall be assessed following the “complies, does not comply” method on the basis of information contained in statements and documents specified in section I.6 of the Terms of Reference. The documents must show without any doubt that the Contractor has met the above conditions.

The Contractor may rely on knowledge and experience, technical potential, personnel capable of performing the contract or financial potential of other entities regardless of the legal nature of their relations. If that is the case the Contractor must prove to the Contracting Party that he will have enough resources to perform the contract especially by providing a written document in which the entities declare that they will make available to him necessary resources for the period when these shall be used for the purpose of performing the contract.

## Statements and documents to be attached with the tender

  - In order to confirm that the conditions specified in section I.5 of the Terms of Reference are met, the Contractor shall submit the following statements and documents:

a)	 a list of deliveries carried out, or being carried out in the case of periodic or continuous services, in the scope necessary to meet the knowledge and experience requirement over the period of the last three years before the day on which the deadline for the submission of tenders expires, or if the period of the Contractor’s business activity is shorter – over this shorter period; the list shall specify two deliveries of minimum one humidifier chamber amounting to at least PLN 70 000.00 gross each, their object, completion dates and customers; it should have attached a document (e.g. references or delivery-acceptance forms) confirming that the deliveries have been completed or are being carried out with due diligence. The specimen of the list constitutes Appendix 3 to the tender.

In order to convert the value of performed services expressed in other currencies than PLN, the Contracting Party shall use the average exchange rate published by the National Bank of Poland on the day of submitting tenders.

- paid insurance policy or, alternatively, another document confirming that the Contractor is insured from the risk of liabilities in the scope of his business related to the object of the contract. The insured amount must not be lower than PLN 50 000.00.

If the insured amount is expressed in a currency other than PLN, the Contracting Party shall convert it to PLN on the basis of the average exchange rate of the National Bank of Poland on the day of submitting tenders in order to verify whether the Contractor is eligible to participate in the tendering procedure.

Should the Contractor rely on knowledge and experience, technical potential, personnel capable of performing the contract or financial potential of other entities pursuant to provisions of art. 26 par. 2b of the PPA, then in addition to providing statements and documents specified in point 6.1, he must also prove to the Contracting Party that he will have enough resources to perform the contract especially by submitting a written declaration of the entities to make available to him necessary resources for the period when these shall be used for the purpose of performing the contract.

6.2. In order to prove that there are no grounds for excluding the Contractor from the tendering procedure for reasons specified in art. 24 of the PPA, the Contractor shall submit the following documents:

- declaration about meeting eligibility requirements and the lack of grounds for exclusion in accordance with Appendix 2 to the tender;

- an up-to-date certified copy of the relevant register if other provisions require a register entry in order to prove that there are no grounds for exclusion pursuant to art. 24 par. 1 point 2 or the PPA, issued not earlier than 6 months before the deadline for submission of tenders expires and in the case of natural persons, a statement following the provisions of art. 24 par. 1 point 2 of the PPA which is included in Appendix 2 to the tender;

If in the case of a Contractor based in Poland, persons specified in art. 24 par. 1 points 5-8 reside outside the territory of the Republic of Poland, the Contractor shall submit a document issued by the competent court or administrative body with the criminal record of these persons in the scope specified in art. 24 par. 1 points 5-8 of the PPA not earlier than 6 months before the expiry of the deadline for the submission of applications to participate in the tendering procedure or the submission of tenders, or if such documents are not issued in the place of residence of such persons they may be replaced by a document containing a statement made in the presence of a notary public, competent court or administrative body or a professional or business association relevant for their place of residence.

  - Contractors whose principal place of business or residence is located outside the territory of the Republic of Poland shall comply with art. 2 par. 2 art. 4 of the Regulation of the Council of Ministers of 30 December 2009 on types of documents a contracting party may demand from a contractor as well as forms in which such documents may be submitted (Official Journal 09.226.1817) and shall submit the following statements and documents confirming respectively that:

his liquidation or bankruptcy has not been announced – document issued not earlier than 6 months before the deadline for the submission of tenders expires,

If documents mentioned in section 6.2 a)-b) are not issued in the place of residence of such persons or in the country where the Contractor is based or resides, they may be replaced by a document containing a statement made in the presence of a notary public, competent court or administrative body or a professional or business association relevant for the place of residence of these persons or the country where the Contractor is based or resides.

  - In order to ensure that the offered delivery complies with the requirements specified by the Contracting Party, the Contracting Party requires that the tender include:

- detailed description of the equipment which must contain a description of technical, performance and operating parameters (in Polish or English) of the offered object in the form of original producer folders (catalogues) confirming that the equipment complies with all required technical parameters (catalogues in English are allowed).

Attached documents must confirm that the equipment offered by the Contractor meets minimum requirements which are specified by the Contracting Party in part IV of these Terms of Reference - Technical Specification

6.5	 In case one tender is submitted jointly by several entities (civil partnership, consortium), it must comply with the following requirements:

a) with reference to requirements of the Contracting Party, each of the Contractors acting jointly must document that he is not excluded from the tendering procedure pursuant to art. 24 par. 1 of the PPA, i.e. he shall submit statements and documents mentioned in point I.6. par 2 a)-b),

b) conditions related to the necessary knowledge, experience, technical potential and personnel capable of performing the contract as well as the economic and financial situation must be met by the Contractors jointly,

c) the offer must have attached a document confirming that all Contractors shall be jointly liable for the performance of the contract,

d) Contractors acting jointly shall appoint an agent authorized to submit the tender or submit the tender and conclude the Agreement with the Contracting Party (relevant documents need to be attached to the offer),

e) any correspondence and settlements shall be carried out only with the entity acting as a representative of the others.

  - If the Contractor plans to subcontract the services to another entity, he shall indicate in the offer which parts of the contract are going to be performed by such entities in accordance with art. 36 paragraph 4 of the PPA.

  - If the documents specified in section I.6 par. 2 of the Terms of Reference are submitted by the person whose authority does not stem from the statement and documents mentioned in point I.6.2 b) the offer must have attached the power of attorney of the person who signs the offer. Pursuant to the provisions of art. 1 par. 1 point 2 of the Act on Stamp Duty of 16 November 2006 (Official Journal of 2006 No. 225, item 1635 as amended), the power of attorney does not require the payment of stamp duty.

### Optional documents:

In order to make the procedure more effective, the Contracting Party expects the Contractor to attach the following optional documents to his tender:

- initialled Draft Agreement contained in part 3 of the Terms of Reference,

## 7. Assessment of Contractor’s eligibility

Eligibility criteria have been specified in the Public Procurement Act of 29 January 2004 and related executive measures as well as in the Terms of Reference. Submitting a tender shall mean accepting without reservations and in full the criteria specified in the Terms of Reference as a sole basis for the procedure. The Contractor shall comply with all provisions of the Terms of Reference.

Eligibility shall be assessed following the “complies, does not comply” method on the basis of information contained in statements and documents specified in section I.6 of the Terms of Reference. The documents must show without any doubt that the Contractor has met the conditions.

Documents specified in section I.6 of the Terms of Reference shall be submitted in their original form; alternatively, copies of such documents are admissible provided they are certified against the original by the person authorized to submit the tender. Each photocopied page with any content should be certified against the original.

In accordance with art. 26. par. 3 of the PPA, the Contracting Party requires that statements or documents confirming eligibility for the procedure be submitted within the period specified by it; the same relates to clarifications regarding such statements and documents if such are necessary under art. 26 par. 4 of the PPA.

The Contracting Party reserves the right to verify information supplied by the Contractor.

## 8. Method of contacting the Contracting Party

### Correspondence:

The Contractor and the Contracting Party shall send all statements, requests, notifications and other information in writing, by fax or by e-mail to the following address:

Instytut Chemii Bioorganicznej Polskiej Akademii Nauk

ul. Noskowskiego 12/14, 61-704 Poznań

fax: 61 852 05 32

e-mail: zampub@ibch.poznan.pl

Note: If the Contractor and the Contracting Party send statements, requests, notifications and other information in writing, by fax or by e-mail, each of the Parties shall confirm their receipt upon request of the other Party.

  - Clarification:

a) Contractors may ask the Contracting Party to clarify the content of the Terms of Reference. The Contracting Party shall immediately provide clarifications in accordance with art. 38 par. 1 of the PPA provided that the request for clarifying the content of the Terms of Reference reached the Contracting Party not later that at the end of the day on which half of the period in which tenders are submitted expires. Extension of the tender submission deadline shall not affect the period for the submission of requests. The Contracting Party shall provide questions and clarifications to Contractors who received the Terms of Reference without disclosing the source of the question. It shall also post them on its website specified in section. I.1 of the Terms of Reference.

b) Should there be discrepancies between the content of these Terms of Reference and the supplied answers, the content of the letter containing later statements of the Contracting Party shall be considered binding

### 8.3	Modifications to the Terms of Reference:

When it is justified, the Contracting Party may modify the Terms of Reference before the deadline for the submission of tenders expires. The Contracting Party shall immediately send any modifications to the Terms of Reference to the Contractors who received them, and post them on its website specified in section. I.1 of the Terms of Reference.

### 8.4	Extension of the tender submission deadline

The Contracting Party extends the deadline for the submission of tenders by the time necessary to modify the tenders pursuant to the provisions of art. 12 a par. 2 and art. 38 par. 6 of the PPA.

### 8.5	Persons authorized to contact Contractors:

Monika Urbańska – zampub@ibch.poznan.pl

## 9.	Tender guarantee

In accordance with art. 45, par. 2 of the PPA, the Contracting Party shall not require a tender guarantee during the procedure.

## Term of the tender

The Contractor shall be bound by the tender for the period of 30 days from the day on which the deadline for the submission of tenders expires.

## Preparing the tender

Tenders must be submitted in writing in Polish or English under pain of invalidity.

The Contracting Party, acting in accordance with art. 9 par. 3 of the PPA, allows for the submission of tenders as well as all statements and documents in English given the exceptional nature of the delivery being contracted.

The Contractor shall submit a complete and signed tender form. If the Contractor does not use tender form specimens contained in Part II of the Terms of Reference, his tender must contain all statements included in the specimen.

Tender content must comply with the content of the Terms of Reference.

In case an equivalent tender is submitted, the Contractor shall submit detailed specification related to the object of the contract, in accordance with Appendix 1 to the tender, highlighting those elements (properties) which are different (equivalent) from the ones required by the Contracting Party (e.g. by underlining suggested equivalent elements or writing them in bold type). The Contracting Party allows for the submission of the specification in English provided that it is submitted in hard copy.

One Contractor may submit only one tender.

The tender must be submitted in a closed envelope bearing:

- name and address of the Contracting Party:

Instytut Chemii Bioorganicznej Polskiej Akademii Nauk, ul. Noskowskiego 12/14, 61 –704 Poznań

- name of the contract,

- name and complete address of the Contractor (all members of a consortium).

- the following information: „ Do not open before………. at ……….”

If information submitted by the Contractor falls under the provisions of art. 11 par. 4 of the Act on Combating Unfair Competition of 16 April 1993 (Official Journal of 2003 No. 153, item 1503, as amended) in the sense that it is a business secret, the Contractor shall properly secure such information in his tender in order to keep it secret, for example by submitting it independently of the tender (in a separate envelope).

Business secret may involve information of the technical, technological, commercial or organizational nature. Secret is defined as information which has not been disclosed to the public and with regard to which necessary measures have been taken to keep it secret (in accordance with Supreme Court ruling of 3.10.2000 CKN 304/00). The Contracting Party shall not disclose any information constituting business secret as defined in provisions on combating unfair competition if the Contractor has forbidden such disclosure not later than on the day of the submission of tenders. The Contractor cannot forbid the disclosure of his name and address, information related to pricing, configuration description, performance deadline, guarantee period and payment conditions included in the tender.

Tenders must be signed by authorized persons in accordance with registration documents or by the person holding power of attorney which needs to be attached to the tender.

The Contractor may change or withdraw his tender before the deadline for the submission of tenders expires.

If changes are made to the tender, the Contractor shall confirm each fragment changed with his signature.

The Contractor shall bear all costs related to the preparation and submission of the tender.

## Place and deadline for submission and opening of tenders

### General information:

Tenders must be submitted at the address of the Contracting Party:

Instytut Chemii Bioorganicznej Polskiej Akademii Nauk, ul. Noskowskiego 12/14, 61 –704 Poznań

room 16 building C

by 09.08.2011. at 10:00 at the latest

The Contracting Party shall immediately notify the Contractor that his offer was submitted after the deadline and shall return the offer after the deadline for appeals has expired.

### Opening of the tenders:

Tenders shall be opened on 09.08.2011 in the Institute of Bioorganic Chemistry, Polish Academy of Science at Noskowskiego 12/14 Street in Poznan, room 17 building C at 10:15

Tenders are opened publicly.

Immediately before the tenders are opened, the Contracting Party discloses the gross amount with which it intends to finance the contract.

During the opening of the tenders, the Contracting Party announces the names and addresses of Contractors as well as information related to price, performance deadline, guarantee period and payment conditions contained in the tenders. Such information is immediately provided, upon request, to Contractors who were not present at the opening of tenders.

## Supplementing documents, corrections, clarifying tender content

### Supplementing:

In accordance with art. 26 par. 3 of the PPA, the Contracting Party calls upon Contractors who did not submit statements, documents or powers of attorney confirming their eligibility for the procedure before the specified deadline or who submitted statements and documents containing errors, or submitted incorrect powers of attorney, to supplement those within the specified period unless the tender would be rejected or the procedure would have to be annulled even if the documents mentioned above were supplemented.

### Clarifying tender content and correcting errors:

When studying and assessing the tenders, the Contracting Party may demand that Contractors clarify the content of the tenders submitted. Any negotiations between the Contractor and the Contracting Party concerning the submitted tender and any changes to its content are forbidden. The Contracting Party shall correct errors in tender content in accordance with art. 87 par. 2 of the PPA especially if the tender contains errors specified in art. 87 par.

- 2 point 3 of the PPA, e.g. when the Contractor adopts amounts which are different from the ones specified in the tender form attached to the Terms of Reference, the Contracting Party shall treat as correct the amount mentioned in the tender form attached to the Terms of Reference multiplied by the gross price in EURO per one item indicated in the tender, which may change the amount mentioned by the Contractor in his tender;

- should there be a discrepancy between the amounts indicated by the Contractor in figures and words, the Contracting Party shall treat as correct the amount expressed in words.

## Excluding Contractors

The Contracting Party shall exclude the Contractor from the tendering procedure if preconditions specified in art. 24 par. 1 and 2 of the PPA are met.

After the best tender has been chosen, the Contracting Party shall immediately inform all Contractors who submitted their tenders about those Contractors who were excluded from the tendering procedure providing factual and legal justification in accordance with art. 92 paragraph 1 point 3 of the PPA.

In accordance with art. 89 par. 1 point 5, the tender of the excluded Contractor shall be deemed rejected.

## Rejection of a tender

The Contracting Party shall reject tenders under circumstances specified in art. 89 of the PPA.

After the best tender has been chosen, the Contracting Party shall immediately inform all Contractors who submitted their tenders about those Contractors whose tenders were rejected, providing factual and legal justification in accordance with art. 92 paragraph 1 point 2 of the PPA.

In accordance with art. 90 par. 3 of the PPA, the Contracting Party shall also reject a tender submitted by the Contractor who has not provided clarifications or if assessment of the clarifications together with provided evidence shows that the tender contains a price that is flagrantly too low given the object of the contract.

- Concluding the Agreement

After the best tender has been chosen, the Contracting Party shall immediately inform all Contractors who submitted their tenders about the date specified in accordance with art. 94 paragraph 1 or 2 of the PPA after which the public procurement contract may be concluded.

- Annulling the procedure

In case of circumstances specified in art. 93 of the PPA, the Contracting Party shall annul the tendering procedure. The Contracting Party shall simultaneously inform that the procedure has been annulled all Contractors who:

    - competed for the contract - in case the procedure was annulled before the deadline for the submission of tenders expired,

    - submitted their tenders - in case the procedure was annulled after the deadline for the submission of tenders expired,

providing factual and legal justification.

## Description of criteria used by the Contracting Party to select the tender

The Contracting Party shall select the best tender on the basis of evaluation criteria specified in the Terms of Reference.

### Tender evaluation criteria:

Price - 100

### Tender evaluation method:

While evaluating tenders, the Contracting Party shall take account of the gross value offered for the contract. The tenders shall be assessed by awarding points. During the evaluation procedure, each of the successively analyzed and evaluated tenders shall be awarded a number of points for the above mentioned criterion in accordance with the rules specified below:

Price – the Contracting Party requires that the price be specified in EURO.

The price shall be provided in accordance with the tender specimen and shall be higher than zero for each of the items. It shall include all costs related to the performance of the contract which will be born by the Contractor, including but not limited to the VAT at the binding rate, the cost of delivery of the object to the place indicated by the Contracting Party and its commissioning, all obligations the Contractor needs to fulfil in order to perform the service in accordance with these Terms of Reference as well as any potential risk related to circumstances which could not be foreseen at the time of submitting the offer. If the Contractor does not include the above mentioned costs in the offered price, he cannot later claim that the Contracting Party cover any additional costs in the future.

Prices must be: indicated and calculated rounded off to two decimal places (rounding off rule: under 5 - downwards, over 5 and equal - upwards).

In case of a foreign supplier, the Contracting Party shall pay due VAT pursuant to binding tax regulations. The amount of the tax, even though it is not included in the offered price, contributes to the actual amount of public expenditure, so the Contracting Party shall take into consideration the offered price as increased by the VAT due.

The number of points awarded for the price criterion shall be calculated according to the following formula:

lowest price

The number of points awarded for the “price” criterion = ----------------------------------------- x 100

analyzed price

The tender which will be awarded the highest number of points in accordance with the criteria specified in section 18 of the Terms of Reference shall be considered the best one.

## Guarantee

The Contractor shall provide guarantee for the object of the contract in accordance with the following rules:

- Deadlines

| Object of the contract | Reaction period | Repair period | Guarantee period |
| --- | --- | --- | --- |
| Humidifier chamber | max 48 h | max 10 days | 24 months |

- the Contracting Party understands reaction period to mean the time it takes technicians to arrive at the place indicated by the Contracting Party where the equipment has been delivered counted from the time the failure has been reported; in cases when remote support is required, the moment of logging on for the first time shall be equivalent to a reaction on site.

- the Contracting Party understands the repair period to mean the period from the moment technicians arrive after a failure has been reported to the moment of repairing the equipment;

- the guarantee covers full costs of equipment repair together with necessary parts, materials and expert costs.

- the guarantee period shall commence on the day of signing the delivery-acceptance form for the object of the contract. The specimen of the form is included in Appendix 2 to the Draft Agreement.

- a faulty device or its subassembly shall be replaced during the guarantee period with a new one if 3 material failures have occurred. Material damage is understood as any damage preventing the humidifier chamber from functioning. The humidifier chamber (or its subassemblies) should be replaced within deadlines specified in the table above in the “repair time” column; in case of replacing a damaged humidifier chamber (or its subassembly) with a new one, guarantee and maintenance conditions specified in the submitted tender shall apply. In such a case, the guarantee period shall commence again.

Other guarantee conditions are specified in the Draft Agreement.

## Performance bond

The Contracting Party shall not require a performance bond from the Contractor during the tendering procedure within the understanding of art. 147 of the PPA.

## Announcing the results

The Contracting Party shall choose the Contractor in accordance with section I.18 of the Terms of Reference and shall subsequently announce the results of the tendering procedure in accordance with art. 92 of the PPA. The Contracting Party shall immediately provide information on which tender was chosen to Contractors who submitted their tenders as well as post the results of the tendering procedure on its website specified in section I.1 of the Terms of Reference and in a publicly accessible place in its principal place of business.

## 22.	Concluding the Agreement and its material terms and conditions

Pursuant to art. 94 of the PPA and subject to art. 94 par. 2 point 1 a) and art. 183 of the PPA, the Contracting Party shall conclude the Agreement with the chosen Contractor within 5 days at the latest from the day on which the information about the chosen tender was provided, if the information was sent in the way specified in art. 27 par. 2 of the PPA; and within 10 days if the information was sent in any other way, not later however than on the day on which the term of the tender expires. Adequately to the value of the tendering procedure and in accordance with art. 95 of the PPA the Contracting Party shall publish the information about concluding the Agreement in the Public Procurement Bulletin.

Detailed provisions of the Agreement are specified in its draft contained in Part III of the Terms of Reference.

In accordance with art. 144, par. 1 of the PPA, the Contracting Party provides for the possibility to make material changes to the provisions of the public procurement Agreement in relation to the content of the tender on the basis of which the Contractor was chosen. Such changes are made in the form of a Annex signed by the Parties. In accordance with art. 140 par. 3 of the PPA, such changes cannot exceed the scope of the contract specified in the Terms of Reference. In particular, the Contracting Party shall allow to:

a)	update Contractor details by changing the name, address of the principal place of business, legal form of the Contractor etc.,

b)	change the equipment constituting the object of the contract when the producer stops producing a given model (type) and the available device has parameters which are not worse than the ones specified in the Agreement provided that the new price will not be higher than the one indicated in the tender; the fact that a given type (model) is no longer produced must be documented by the Contractor in writing,

- change performance deadlines for reasons outside the Contractor’s or Contracting Party’s control, in particular in case of force majeure or third party actions, which need to be documented by each Party,

## Legal remedy

The content of the contract notice and Terms of Reference, actions taken by the Contracting Party during the tendering procedure as well as the fact the Contracting Party failed to take actions which it was obliged to take pursuant to the provisions of the PPA may form the basis of an appeal which may be registered as specified in art. 180 of the PPA.

The Contractor, participant in the tendering procedure and other entity shall enjoy the right to legal remedy if it was in their interest to obtain the contract and the interest has been or can be jeopardized as a result of the Contracting Party infringing the provisions of the Act. Legal remedy related to the publication of the tender and its terms of reference shall also be enjoyed by organisations from the list mentioned in art. 154 point 5 of the PPA.

Appeals may be registered in accordance with deadlines specified in art. 182 par. 1, 2, 3 and 4 of the PPA.

Appeals are regulated by art. 180-198 of the PPA.

Parties and participants in the appeals procedure may complain to court about the ruling made by the Chamber. Complaints are regulated by art. 198a-198g of the PPA.

I approve the Terms of Reference

signature of the head of the Unit

II. TENDER FORM

.........................., on .................

I, undersigned, acting on behalf:

........................................................................................................................................................................... ........

....................................................................................................................................................................................

based in ............................. code.......................... at ............................... No.................
tel. ......................................... fax ............................................. e-mail ........................................, NIP ....................................... REGON ......................................................

submit this tender in reply to the contract notice concerning ............................. and declare that:

- We offer to perform the services for the following remuneration:

| name | net value [EURO] | VAT rate [%] | gross value [ Euro ] |
| --- | --- | --- | --- |
| Humidifier chamber |  |  |  |

Total value of the contract (gross)………………………Euro, say: .........................................., net ………...... EURO ,

- We declare that the price specified in the tender is final, will not change until the contract has been performed and covers the entire scope of the services contracted as described in the Terms of Reference.

- We declare that we shall be bound by the tender for the period specified in the Terms of Reference; in the event we are awarded the contract and conclude the Agreement, the conditions specified in the tender shall be binding during the entire term of the Agreement.

- We declare that we familiarized ourselves with the relevant Terms of Reference and the Draft Agreement and we accept the provisions contained therein without reservations.

- We declare that we shall deliver the object of the contract to the facility indicated by the Contracting Party as well as install and commission it within ............................. (max 18 weeks from the day on which the Agreement is signed by both parties, but not later that by 28th December 2011)

- We declare that we shall personally perform the object of the contract. However, in case we intend to subcontract parts of the contract to other parties, we declare that they shall perform the following parts:

............................................................................................................................................................................................................................................................................................................................................................

- We declare that we shall perform guarantee provisions in accordance with the conditions specified in section I.19 of the Terms of Reference. We also declare that we shall provide guarantee services in accordance with the provisions specified in the Draft Agreement (part III of the Terms of Reference).

- We declare that we accept the payment of the remuneration in accordance with the conditions and deadlines specified in art. 3 of the Draft Agreement contained in part III of the Terms of Reference.

- We have familiarized ourselves with the Draft Agreement and accept its content without reservations. We are aware of the provisions contained in art. 144 of the PPA forbidding material changes to the concluded Agreement in relation to the content of the tender except when such changes are allowed under conditions specified by the Contracting Party in the Terms of Reference.

- We declare that the delivered object of the contract shall be brand new, i.e. not used before delivery otherwise than it is necessary for the purpose of testing its proper functioning.

- We declare that the delivered object designed to be powered by electricity will be equipped with the sufficient amount of cable to allow it to be connected to standard power sockets unless otherwise specified in the Technical Specification.

- We shall make it possible to report equipment failure ...... hours/day from .... to .....,

on the following days ..... (minimum. 9h/day from 8.00 to 17.00):

    - by fax: 		............................................

    - by e-mail at 		............................................

    - by regular mail at 		............................................

- Please find attached to the tender the documents specified in section I.6 of the Terms of Reference.

| ..................................................... | .......................................................... |
| --- | --- |
| Place and date | Stamps and signatures of persons representing the Contractor |

Appendix 1 to the tender

Detailed price calculation with the specification of technical parametres

Notes:

      - Gross price shall be specified in Euro.

      - The specified price shall include all costs borne by the Contractor including but not limited to costs of delivery, connection, installation, commissioning of the equipment, insurance during transport and installation, guarantee and guarantee maintenance, training on the use of the device as well as unlimited technical consultation by phone and e-mail including in the post-guarantee period as long as the equipment is in use.

      - In case an equivalent tender is submitted, the Contractor shall submit detailed specification of technical parameters related to the object of the contract highlighting those elements which are different (equivalent) from the ones required by the Contracting Party - e.g. by underlining suggested equivalent elements or writing them in bold type.

Detailed technical specification

| Name of the Contractor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address of the Contractor |  |  |  |  |  |
| Object of the contract |  | gross price | Technical specification | Name, type, year of production |  |
| Humidifier chamber |  |  |  |  |  |
| ......................................................... | ......................................................... |  |  |  |  |
| Place and date | Stamps and signatures of persons representing the Contractor |  |  |  |  |

Appendix 2 to the tender

| Name of the Contractor |  |
| --- | --- |
| Address of the Contractor |  |
| We declare that: - We meet the conditions to participate in the tendering procedure specified in art. 22 par 1 of the Public Procurement Act of 29 January 2004 (Official Journal of 2007 No. 223, item 1655 as amended) - We are not excluded from the tendering procedure for public contracts pursuant to art. 24 of the Public Procurement Act of 29 January 2004 (Official Journal of 2010 No. 113, item. 759 as amended) .........................................................; .......................................................... Place and date; Stamps and signatures of persons representing the Contractor. |

Appendix 3 to the tender

| Name of the Contractor |  |  |  |  |
| --- | --- | --- | --- | --- |
| Address of the Contractor |  |  |  |  |
| LIST OF SERVICES PERFORMED WITHIN THE LAST 3 YEARS AT LEAST TWO DELIVERIES of humidifier chambers – in accordance with section I.6.1. a) of the Terms of Reference |  |  |  |  |
| In the years: |  |  |  |  |
| Scope: |  |  |  |  |
| Item | Name of the service, substantive scope, parameters | Name and address of the entity for which the service was performed | The value of deliveries performed in Euro (net) | Performance period, (year, month) |
| 1 |  |  |  |  |
| .........................................................; .......................................................... Place and date; Stamps and signatures of persons representing the Contractor. |

Appendixes: documents confirming that the above mentioned minimum of two deliveries were performed with due diligence.

# III.		DRAFT AGREEMENT

Agreement No .................................

made on .......................... 2011 in Poznań between:

Instytut Chemii Bioorganicznej Polskiej Akademii Nauk based in Poznań at the following address: 61-704 Poznań, ul. Z. Noskowskiego 12/14, hereinafter called the Contracting Party, represented by:

- prof. dr hab. Jerzy Boryski	– Deputy Scientific Director

- Małgorzata Radwańska – Borucka 	– Deputy Administrative Director

and

the ................................ company based in ............. (post code), at ....................., entered to the National Court Register with the KRS number .................................... in District Court for ..................., ....... Business Division of the National Court Register ...................., equity ..............................., hereinafter called the Contractor, represented by:

1.......................................

2.......................................

1

This Agreement is concluded following an open tender whose value does not exceed amounts specified in provisions made pursuant to art. 11 par. 8 of the Public Procurement Act of 29.01.2004 (Official Journal. 2010 No. 113 item. 759) hereinafter called the PPA in accordance with its art. 39, published in the Public Procurement Bulletin No............................, on…………., to deliver a humidifier chamber to a room indicated by the Contracting Party, i.e. the room located in the building at Piotrowo 2 Street in Poznań as well as install and commission it according to the requirements of the Contracting Party specified in the Technical Specification of the object included in Part IV of the Terms of Reference hereinafter called the “OBJECT OF THE AGREEMENT” with technical parameters specified in part IV of the Terms of Reference - Technical Specification of the object of the contract and according to the tender submitted by the Contractor.

The scope of the contract also includes:

- training on operating the equipment after installation,

- issuing the guarantee and providing guarantee maintenance services (hereinafter called maintenance services)

- providing a manual for the equipment in Polish or English

- unlimited technical consultation - by phone and e-mail in the guarantee and post-guarantee period as long as the equipment is in use

The delivered object of the contract must be brand new, i.e. not used before delivery otherwise than is necessary for the purpose of testing its proper functioning.

The delivered object must be ready for use without having to install additional devices and must be equipped with the sufficient amount of cable

allowing it to function properly and be connected to standard power sockets unless otherwise specified in the Technical Specification.

The contract is part of the project: Infrastructure Development for the European Bioinformatics and Genomics Centre implemented under the Innovative Economy Operational Programme 2007-2013, Priority 2. R&D infrastructure, Measure 2.2 Support for the development of shared research infrastructure, Project No. POIG.02.02.00-30-009/09-00

Project co-financed by the European Union from the Regional Development Fund under the Innovative Economy programme

2

The Contractor shall deliver a humidifier chamber to a room indicated by the Contracting Party, i.e. the room located in the building at Piotrowo 2 Street in Poznań as well as install and commission it within ............................. (max 18 weeks from the day on which the Agreement is signed, but not later that by 28th December 2011.

3

- (if the Agreement is signed with a domestic Contractor)

The Contracting Party shall pay to the Contractor the total amount of .......................... (say: ..............) euro gross , net ……………………… for performing the contract in full.

- (if the Agreement is signed with a foreign Contractor)

The Contracting Party shall pay to the Contractor the total amount of .......................... (say: ..............) euro gross , net ……………………… euro for performing the contract in full).

In case the Agreement is signed with a foreign supplier, the Contracting Party shall pay due VAT pursuant to binding tax regulations and the performance of the agreement. The amount of the tax, even though it is not included in the offered price, contributes to the actual amount of public expenditure.

- The Contractor’s remuneration specified in par. 1 of this section includes the cost of delivery, connection, installation, commissioning of the equipment, insurance during transport and installation, guarantee and guarantee maintenance, training on the use of the device as well as unlimited technical consultation by phone and e-mail including post-guarantee period as long as the equipment is in use.

- Both Parties declare that they are VAT payers.

NIP of the Contracting Party		777-00-02-062

NIP of the Contractor		 ........................

- The Contractor shall inform by telephone the Contracting Party’s employee, Ms Agnieszka Żmieńko + 48 61 665 3052 or e-mail: akisiel@ibch.poznan.pl that he is ready to deliver the object of the contract to the location specified by the Contracting Party not later than 3 working days before the planned delivery date.

- Persons responsible for performing the Agreement, including the signing of the delivery-acceptance form:

- on the part of the Contracting Party	 dr Agnieszka Żmieńko

- on the part of the Contractor		.......................................

- The Contractor shall issue invoices on the basis of the delivery-acceptance form whose specimen constitutes Appendix 2 to the Agreement and which shall be made after the object of the contract has been delivered to the facility specified by the Contracting Party, i.e. the room located in the building at Piotrowo 2 Street in Poznań as well as installed and commissioned according to the requirements of the Contracting Party.

All work related to the delivery shall be carried out at the expense of the Contractor.

- The signing of the delivery-acceptance form does not prejudice the right to claim redress on the basis of surety and guarantee in the case the object of the contract is discovered to be faulty at a later date.

- The Contracting Party shall transfer Contractor’s remuneration to his bank account indicated on the invoice within 14 days from the receipt of a correct invoice compliant with the Agreement. The date of payment shall be the date on which the Contracting Party’s account is debited.

4

The Parties shall immediately notify each other in writing of any changes in their legal status; the initiation of bankruptcy or liquidation proceedings in which case they shall indicate the entity authorised to assume their rights and obligations; as well as of any change to the address of their principal place of business.

5

- If the deadline for performing the contract is breached due to Contractor’s fault, the Contracting Party shall impose liquidated damages in the form of statutory interest calculated on the basis of Contractor’s gross remuneration specified in section 3 par. 1 for each day of the delay.

- If a payment deadline is breached due to Contracting Party’s fault, the Contractor is authorised to calculate statutory interest on the basis of the amount in arrears.

- The Contracting Party shall pay to the Contractor contractual penalty in the amount of 10% of the value of Contractor’s gross remuneration specified in section 3 par. 1 if any Party withdraws from the Agreement due to Contracting Party’s fault excluding circumstances specified in section 1 par. 8.

- The Contractor shall pay to the Contracting Party contractual penalty in the amount of 10% of the value of Contractor’s gross remuneration specified in section 3 par. 1 if any Party withdraws from the Agreement due to Contractor’s fault.

- If the Contractor is found twice not to perform guarantee and maintenance services in accordance with the conditions specified in this Agreement, the Contracting Party shall have the right to terminate its agreement with the Contractor immediately and impose liquidated damages amounting to 50% of the gross price of contract’s object.

- Moreover, the Contracting Party may impose liquidated damages amounting to 0.5% of the gross price of the contract’s object for every day of delay if guarantee repairs are performed past their deadlines.

- Payment of liquidated damages does not exclude the possibility to claim damages exceeding the amount of liquidated damages specified.

- In accordance with art. 145 of the Public Procurement Act, in case a material change in circumstances means that performance of the Agreement is not in the public interest and it was not possible to foresee this fact when the Agreement was concluded, the Contracting Party may withdraw from the Agreement within 30 days from the day on which it learns of the circumstances mentioned above.

In such cases, the Contractor may only demand remuneration due for the performed part of the Agreement.

- In accordance with art. 144, par. 1 of the PPA, the Contracting Party reserves the right to make material changes to the Agreement after it has been concluded provided that a relevant Annex is accepted and signed by both Parties. In accordance with art. 140 par. 3 of the PPA, such changes cannot exceed the scope of the contract specified in the Terms of Reference. In particular, the Contracting Party shall allow to:

  - update Contractor details by changing the name, address of the principal place of business, legal form of the Contractor etc.,

  - change the equipment constituting the object of the contract when the producer stops producing a given model (type) and the available device has parameters which are not worse than the ones specified in the Agreement provided that the new price will not be higher than the one indicated in the tender; the fact that a given type (model) is no longer produced must be documented by the Contractor in writing,

  - change performance deadlines for reasons outside the Contractor’s or Contracting Party’s control, in particular in case of force majeure or third party actions, which need to be documented by each Party.

6

- The Contractor shall issue guarantee cards or other documents of equivalent nature for the delivered object of the contract which shall be handed over to the Contracting Party on the day the delivery-acceptance form in signed and shall bear the date on which the form is signed.

- The Contractor shall provide guarantee for the object of the contract in accordance with the following rules:

2.1. Deadlines

| Object of the contract | Reaction period | Repair period | Guarantee period |
| --- | --- | --- | --- |
| Humidifier chamber | max 48 h | max 10 days | 24 months |

- The Contracting Party understands reaction period to mean the time it takes technicians to arrive at the place where the equipment has been delivered counted from the time the failure has been reported; in cases when remote support is required, the moment of logging on for the first time shall be equivalent to a reaction on site.

- the Contracting Party understands the repair period to mean the period from the moment technicians arrive after a failure has been reported to the moment of repairing the equipment;

- the guarantee covers full costs of equipment repair together with necessary parts, materials and expert costs.

- the guarantee period shall commence on the day of signing the delivery-acceptance form for the object of the contract. The specimen of the form is included in Appendix 2 to the Draft Agreement.

2.2.	 A faulty device or it subassembly shall be replaced during the guarantee period with a new one if 3 material failures have occurred. Material damage is understood as any damage preventing the humidifier chamber from functioning. The humidifier chamber (or its subassemblies) should be replaced within deadlines specified in the table above in the “repair time” column.

2.3	 In case of replacing a damaged humidifier chamber (or its subassembly) with a new one, guarantee and maintenance conditions specified in the submitted tender shall apply. In such a case, the guarantee period shall commence again.

- The Contractor shall make it possible to report equipment failure ...... hours/day from .... to ....., on the following days ..... (minimum 9h/day from 8.00 to 17.00):

	by fax: 	 	............................................

	by e-mail at 			............................................

	by regular mail at 		............................................

- In matters related to guarantee and surety conditions not regulated herein or in appendixes, provisions of the Civil Code shall apply.

7

      - The agreement falls under the jurisdiction of Polish courts and Polish law.

      - Any disputes arising in relation to this Agreement shall be settled by a common court of competent subject matter jurisdiction for the principal place of business of the Contracting Party.

8

In matters not regulated herein, provision of the Public Procurement Act and the Civil Code shall apply.

9

The following appendixes are an integral part of this Agreement:

- Contractor’s bid – Appendix 1 to the Agreement.

- Delivery-acceptance form specimen – Appendix 2 to the

- TERMS OF REFERENCE Agreement:

10

Any changes and additions shall be made in writing under pain of invalidity.

11

This Agreement has been made in two identical copies, each party receiving one.

11. (if the Agreement is signed with a foreign Contractor)

            - This Agreement has been made in two identical copies both in Polish and English, each party receiving one.

            - In case of discrepancies between the Polish and English versions of the Agreement, the Polish version shall decide.

Contractor				Contracting Party

Appendix 1 to the Agreement

Contractor’s tender

Appendix 2 to the Agreement

Delivery-acceptance form specimen

Delivery-acceptance form

made in .................. on .......................

between

..............................................................................

as Contractor

and

The Institute of Bioorganic Chemistry, Polish Academy of Sciences based at. Z. Noskowskiego 12/14, 61-704 Poznań represented by:

..............................................................................

as Contracting Party:

- Accepted is ………… …………… delivered by the Contractor following the provisions contained in Agreement No ……… of ……………. Detailed specification of the device, the date of its delivery to ................ and serial numbers are specified in Appendix 1 to this form.

- Having verified that the delivery is complete and the device works after commissioning, the Contracting Party has stated that the object of the contract has been performed by the Contractor in full in compliance 
with the Contractor’s tender and the Agreement concluded between the parties.

- The equipment was accepted without reservations.

- This form, having been signed by both parties, is the basis on which the Contractor shall issue its invoices.

For the Contractor				For the Contracting Party

appendix 3 to the

TERMS OF REFERENCE Agreement:

# IV. TECHNICAL SPECIFICATION OF THE CONTRACTED SERVICES

The object of the contract is to deliver a humidifier chamber to a room indicated by the Contracting Party, i.e. the room located in the building at Piotrowo 2 Street in Poznań as well as equip, install and commission it in accordance with the requirements of the Contracting Party specified in the Technical Specification included in part IV of the Terms of Reference (hereinafter called Technical Specification)

The scope of the contract also includes:

- training on operating the equipment after installation,

- issuing the guarantee and providing guarantee maintenance services (hereinafter called guarantee services) - detailed requirements related to the guarantee are specified in section I.19 of the Terms of Reference,

- providing a manual for the equipment in Polish or English

- unlimited technical consultation - by phone and e-mail in the guarantee and post-guarantee period as long as the equipment is in use

The delivered object of the contract must be brand new, i.e. not used before delivery otherwise than is necessary for the purpose of testing its proper functioning.

The delivered object must be ready for use without having to install additional devices and be equipped with the sufficient amount of cable to allow it to function properly and be connected to standard power sockets unless otherwise specified in the Technical Specification.

The contract is part of the project: Infrastructure Development for the European Bioinformatics and Genomics Centre implemented under the Innovative Economy Operational Programme 2007-2013, Priority 2 R&D infrastructure, Measure 2.2 Support for the development of shared research infrastructure, Project No.: POIG.02.02.00-30-009/09-00

Project co-financed by the European Union from the Regional Development Fund under the Innovative Economy programme

Minimum required parameters of the humidifier chamber

Object of the contract:

Humidifier chamber

Requirements related to contracted equipment

1. Cabinet construction

- Preferred dimensions: 105 cm x 90 cm x 200 cm (W x D x H), but depth should be no more than 100 cm and height – no more than 230 cm, due to space requirements in the chamber destination localisation.

- wall internal surface finish: electro-zinc plated steel with highly reflective white surface finish

- door: solid, with magnetic gasket

- insulation: CFC-free

2. Interior workspace

- Shelves: at least two, with adjustable positioning

- Working height (distance from the shelf to the lamp bank): > 50 cm

- Total shelf area: >1,2 m2

3. Humidity control:

- internal reservoir humidifier

- range: ca. 60% to 80% lights (+/-10%) on or off

4. Air circulation:

- horizontal

- adjustable fresh air ports

5. Lights:

- type: mixed (fluorescent lamps and LEDs), suitable for plant growth

- positioning: identical lamp banks over each shelf

- max. intensity: at least 600 µmol/m2S-1, over each shelf

- each light source separately programmable

- each lamp bank separately programmable

6. Temperature:

- range: 12 °C – 44 °C, with lights on, 4 °C – 44 °C with lights off

- precision: ± 1 °C

- adjustable hi/lo alarm settings

7. Refrigeration:

air cooled condensing system

8. Display and controller:

- programmable temperature, light and humidity diurnal and circadian

- step or gradient cycles

- possibility to save programs (alpha-numeric program names)

- programs can be linked to create complex profiles

- display to show actual time, temperature, humidity and light intensity

9. Connectivity: 230V

The scope of the contract also includes:

Delivery, fitting, installation and personnel training

Manual in Polish or English

Guarantee of minimum 24 months, reaction period – 48 h, repair period – max 10 days

Delivery time: max 18 weeks from the day on which the Agreement is signed by both parties, but not later that by 28th December 2011